**無顯著危險的醫療器材研究**

舉例如下：

* 雷射治療疼痛Bio-stimulation Lasers for treatment of pain
* 骨疽移除液Caries Removal Solution
* 隱形眼鏡清潔、配戴Daily Wear Contact Lenses and Associated Cleaners and Solutions
* 補牙材料Dental Filling Materials, Cushions or Pads made from traditional materials and designs
* 假牙Denture Repair Kits and Re-aligners
* 婦科醫學的腹腔鏡和附件在1976年5月28日之前規範的運用(除了在女性消毒過程中的使用) Gynecologic Laparoscope and Accessories at power levels established prior to May 28, 1976 (excluding use in female sterilization)
* 外部配戴的胰島素反應（監測器）Externally worn Monitor for Insulin Reactions
* 嬰兒黃疸監測器 Jaundice Monitor for Infants
* 在指定的物理參數內的磁振造影儀(MRI)醫療器材 Magnetic Resonance Imaging (MRI) Devices within specified physical parameters
* 衛生棉墊Menstrual Pads
* 衛生棉條(在1976年5月28日之前使用) Menstrual Tampons of “old” materials (used prior to May 28, 1976)
* 非植入型男性性功能輔助品Non-implantable Male Reproductive Aids
* 婦產科診斷超音波(在特定參數內的) Ob/Gyn Diagnostic Ultrasound (within specified parameters)
* 經皮電的神經刺激治療疼痛的裝置Transcutaneous Electric Nerve Stimulation (TENS) Devices for treatment of pain Transcutaneous
* 輔具（包紮用品）傷口包紮用品，排除吸收性止血包紮用物Wound Dressings, excluding absorbable hemostatic devices and dressings